SIMPLE ENERGY AND WATER CHECKLIST – Night Time Audits 21/7/03

Building

| Room/Floor |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lights |  |  |  |  |  |  |  |  |
| Heating |  |  |  |  |  |  |  |  |
| Computers |  |  |  |  |  |  |  |  |
| Air Conditioning |  |  |  |  |  |  |  |  |
| Ventilation |  |  |  |  |  |  |  |  |
| Televisions and Video’s |  |  |  |  |  |  |  |  |
| Photocopiers |  |  |  |  |  |  |  |  |
| Lab equipment |  |  |  |  |  |  |  |  |
| Purite systems running |  |  |  |  |  |  |  |  |
| Oven and Kilns |  |  |  |  |  |  |  |  |
| Dryers & Autoclaves |  |  |  |  |  |  |  |  |
| Hissing compressed air |  |  |  |  |  |  |  |  |
| Urinal flushing |  |  |  |  |  |  |  |  |
| Taps running/Dripping |  |  |  |  |  |  |  |  |
| Vending machines |  |  |  |  |  |  |  |  |
| Catering equipment |  |  |  |  |  |  |  |  |
| Plant rooms Boilers/Pumps Fans/Steam releases Controls set to ‘hand’ |  |  |  |  |  |  |  |  |
| Running water |  |  |  |  |  |  |  |  |
| External Lights |  |  |  |  |  |  |  |  |
| Heaters obstructed |  |  |  |  |  |  |  |  |
| Fan / Electric Heaters |  |  |  |  |  |  |  |  |
| Keep an eye out for; Tungsten lights Un-lagged plant room pipework Flickering fluorescent tubes Glass Stills |  |  |  |  |  |  |  |  |
| Comments! |  |  |  |  |  |  |  |  |